{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":21,"n_cols":12,"rows_kept":21,"merged":[[0,0,0,11],[2,3,17,3],[2,11,17,11],[18,1,18,5],[18,6,18,11],[19,0,19,11],[20,0,20,3],[20,4,20,5],[20,6,20,11]],"flags":["formulas_cached_only"]}
["雅州集市临时农贸市场项目配电箱及永电材料 报价表"]
["序号","物资名称","规格型号","技术质量标准及要求","单位","数量","不含税到场单价（元）","不含税到场合计（元）","税率","税金","含税到场合价（元）","备注"]
[1,"配电箱","A1","按照相关国家规范要求","套",1,{"$nulls":5},"含运费、上、下车费、利润"]
[2,"配电箱","AW1/AW8/AW10",null,"套",3]
[3,"配电箱","AW2/WA3",null,"套",2]
[4,"配电箱","AW4",null,"套",1]
[5,"配电箱","AW5",null,"套",1]
[6,"配电箱","AW6/AW7",null,"套",2]
[7,"配电箱","AW9",null,"套",1]
[8,"配电箱","AW11/AW12/AW14",null,"套",3]
[9,"配电箱","AW13",null,"套",1]
[10,"配电箱","AW15",null,"套",1]
[11,"配电箱","AL n",null,"套",166]
[12,"配电箱","AL1P",null,"套",1]
[13,"86型开关","白色明装单开单控（大按板）",null,"个",170]
[14,"86型插座","白色明装五孔",null,"个",510]
[15,"LED日光灯","T8双灯管",null,"套",275]
[16,"PVC明装线槽","25mm×12.5mm",null,"米",3000]
[17,"合计："]
["   注：1、报价包含物资、运输、利润、风险及管理所有费用，2、税费（增值税）按税务机关核定税率单独计算，3、采取一次性不可更改的报价方式报价.4、报价应加盖公司公章"]
["供应商名称：",{"$nulls":3},"联系人：",null,"联系电话："]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}