{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["防火门、钢质门、套装门"],"read":"whole","date_system":"1900"}

{"sheet":"防火门、钢质门、套装门","index":0,"n_rows":10,"n_cols":11,"rows_kept":10,"merged":[[0,0,0,10],[10,5,10,6],[13,8,13,10]]}
["汉源县乡镇幼儿园建设项目一期--富林镇第三幼儿园建设项目防火门、钢质门、套装门采购清单"]
["序号","货物名称","主要技术指标（参数）","单位","数量","不含税单价","税率","不含税合价","含税单价","含税合价","备  注"]
[1,"全钢质防火门（甲级）","1.门类型:甲级全钢防火门\n2.门代号及洞口尺寸：综合\n3.包含拉手、门锁、风撑、闭门器、顺序器等配件及五金件费用                             4.其它: 满足设计及相关规范要求                            ","m2",26.57]
[2,"全钢质防火门（乙级）","1.门类型:乙级全钢防火门\n2.门代号及洞口尺寸：综合\n3.包含拉手、门锁、风撑、闭门器、顺序器等配件及五金件费用                            4.其它: 满足设计及相关规范要求 ","m2",49.36]
[3,"全钢质防火门（丙级）","1.门类型:丙级全钢防火门\n2.门代号及洞口尺寸：综合\n3.包含拉手、门锁、风撑、闭门器、顺序器等配件及五金件费用                            4.其它: 满足设计及相关规范要求 ","m2",{"v":13.2,"d":"13.20"}]
[4,"乙级非隔热固定+部分平开防火窗","1.门类型:乙级防火门联窗\n2.门代号及洞口尺寸：综合\n3.包含拉手、门锁、风撑、闭门器、顺序器等配件及五金件费用                           4.其它: 满足设计及相关规范要求   ","m2",4.59]
[5,"钢质门","1.门类型:钢质门\n2.门代号及洞口尺寸：综合\n3.包含拉手、门锁、风撑、闭门器、顺序器等配件及五金件费用                           4.其它: 满足设计及相关规范要求 ","m2",{"v":91.2,"d":"91.20"}]
[6,"实木套装门","1.门类型:复合实木套装门\n2.门代号及洞口尺寸：综合\n3.包含门锁、拉手、门碰等五金件费用       4.其它: 满足设计及相关规范要求 ","樘",{"v":8,"d":"8.00"}]
[null,null,"不含税合计"]
[null,null,"含税合计"]