{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":8,"rows_kept":7,"merged":[[0,0,0,7],[6,0,6,7]]}
["宝兴县灵关镇庭院灯、高杆灯项目报价清单"]
["序号","产品名称","规格型号","数量","单位","含税单价（元）","含税总价（元）","备注"]
[1,"庭院灯","1.名称：庭院灯1* 30WLED 光源\n2.型号、规格：220v/30w\n3.参数：LED/4000k IP65\n4.灯架形式及臂长：总高2.5 米\n5.附件配置要求：含灯具、灯罩、支架、熔断 保护器、基础地脚螺栓等安装所需的所有部件及附件 \n6.灯杆形式(单、双 ）：单杆灯杆不发光，外观为黑色",18,"套"]
[2,"高杆灯","1.名称：高杆灯主光源配 8* 100W灯，主杆采用 LED 管\n2.型号、规格：220v/100w\n3.参数：LED/4000k IP65\n4.灯架形式及臂长：总高 12 米\n5.附件配置要求：含灯具、灯罩、支架、熔断 保护器、基础地脚螺栓等安装所需的所有部件及附件\n6.灯杆形式(单、双 ）：组合式，外观颜色为浅灰色",4,"套"]
[3,"小计",{"$nulls":4},{"$f":"SUM(G3:G4)","v":0}]
[]
["备注：此价含材料、生产、运输、吊装及9％的税率。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}