{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["1"],"read":"whole","date_system":"1900"}

{"sheet":"1","index":0,"n_rows":56,"n_cols":9,"rows_kept":56,"merged":[[0,0,0,8],[51,0,51,5],[52,0,52,5],[53,0,53,5],[54,0,54,1],[54,2,54,8],[55,0,55,8]]}
["蒙顶壹号项目潜污泵、潜水泵及相关配件报价表"]
["序号","材料名称","材质/规格型号","单位","暂定工程量","不含税控制单价（元）","不含税单价（元）","不含税合计（元）","备注"]
[1,"潜污泵（集水坑）","DN80,Q=40m³/h，H=13m，2.2Kw","个",11,1947,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[2,"潜污泵（集水坑）","DN100,Q=25m³/h，H=18m，3.0Kw","个",{"$f":"2*2","v":4},2557.5,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[3,"潜污泵（集水坑）","DN100,Q=40m³/h，H=23m，7.5Kw","个",26,4240.5,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[4,"潜污泵（集水坑）","DN65,Q=15m³/h，H=20m，2.2Kw","个",6,2046,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[5,"潜污泵（集水坑）","DN100,Q=25m³/h，H=25m，4.0Kw","个",{"$f":"2*1","v":2},2640,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[6,"潜水泵（景观）","DN80,QSP65-7-2.2,2.2KW","个",2,2392.5,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[7,"潜水泵（景观）","DN100,QSP100-7-3,3.0kw","个",2,2788.5,null,null,"5#链条式；自带控制箱成套；出口配相应大小法兰接口；浮球阀电源线加长；限定品牌：1、KSB凯士比2、塞莱默飞力3、WILO威乐4、SULZER苏尔寿5、FCNP南方泵业6、新界泵业7、大元8、利欧LEO9、DONGYIN10、连成等其他同等级品牌"]
[8,"法兰闸阀（潜污泵）",80,"个",11,255,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[9,"法兰闸阀（潜水泵）",80,"个",8,255,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[10,"法兰止回阀（潜污泵）",80,"个",11,360,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[11,"法兰止回阀（潜水泵）",80,"个",4,298.65,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[12,"伸缩节（橡胶柔节）（潜污泵）",80,"个",13,66,null,null,"所有螺杆、螺帽配齐、银色"]
[13,"沟槽三通（潜污泵）","80*15（1/2）","个",11,44.55,null,null,"所有螺杆、螺帽配齐、银色"]
[14,"压力表及弯管（潜污泵）","15（25公斤）","套",49,33,null,null,"所有螺杆、螺帽配齐、银色"]
[15,"法兰闸阀（潜污泵）",100,"个",32,345,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[16,"法兰闸阀（潜水泵）",100,"个",2,345,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[17,"沟槽三通（潜污泵）","100*15（1/2）","个",32,60,null,null,"所有螺杆、螺帽配齐、银色"]
[18,"法兰止回阀（潜污泵）",100,"个",32,363,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[19,"法兰止回阀（潜水泵）",100,"个",2,363,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[20,"伸缩节（橡胶柔节）（潜污泵）",100,"个",34,74.25,null,null,"所有螺杆、螺帽配齐、银色"]
[21,"沟槽法兰（潜污泵）",80,"个",33,27,null,null,"所有螺杆、螺帽配齐、银色"]
[22,"沟槽法兰（潜污泵）",100,"个",96,30,null,null,"所有螺杆、螺帽配齐、银色"]
[23,"钢卡（潜污泵）",80,"个",110,15,null,null,"所有螺杆、螺帽配齐、银色"]
[24,"钢卡（潜污泵）",100,"个",320,16.5,null,null,"所有螺杆、螺帽配齐、银色"]
[25,"沟槽弯头（潜污泵）","100*90","个",96,28.5,null,null,"所有螺杆、螺帽配齐、银色"]
[26,"沟槽弯头（潜污泵）","80*90","个",33,19.5,null,null,"所有螺杆、螺帽配齐、银色"]
[27,"法兰闸阀（潜污泵）",65,"个",6,217.5,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[28,"法兰止回阀（潜污泵）",65,"个",6,237.6,null,null,"所有螺杆、螺帽配齐、银色；铜质"]
[29,"伸缩节（橡胶柔节）",65,"个",6,57.75,null,null,"所有螺杆、螺帽配齐、银色"]
[30,"沟槽法兰（潜污泵）",65,"个",18,24,null,null,"所有螺杆、螺帽配齐、银色"]
[31,"沟槽弯头（潜污泵）","65*90","个",28,18,null,null,"所有螺杆、螺帽配齐、银色"]
[32,"沟槽三通（潜污泵）","65*15（1/2）","个",6,44.55,null,null,"所有螺杆、螺帽配齐、银色"]
[33,"PPR三通","100*80","个",2,52.8,null,null,"满足国标要求"]
[34,"PPR异径直接","80*50","个",1,13.5,null,null,"满足国标要求"]
[35,"PPR截止阀","DN40","个",12,37.95,null,null,"满足国标要求"]
[36,"PPR截止阀","DN32","个",3,19.8,null,null,"满足国标要求"]
[37,"PPR快速取水阀（配套DN25截止阀）（铜质）","DN25","套",33,75,null,null,"满足国标要求"]
[38,"JDG管",32,"米",1000,10,null,null,"壁厚1.6mm，满足国标要求"]
[39,"JDG管直接",32,"个",200,0.9,null,null,"满足国标要求"]
[40,"JDG管弯头",32,"个",200,3,null,null,"满足国标要求"]
[41,"JDG管U型卡",32,"个",300,0.41,null,null,"满足国标要求"]
[42,"JDG管马鞍卡",32,"个",300,0.08,null,null,"满足国标要求"]
[43,"JDG管锁扣",32,"个",200,0.38,null,null,"满足国标要求"]
[44,"JDG管",40,"米",500,12,null,null,"壁厚1.6mm，满足国标要求"]
[45,"JDG管直接",40,"个",100,1.5,null,null,"满足国标要求"]
[46,"JDG管弯头",40,"个",100,4.95,null,null,"满足国标要求"]
[47,"JDG管U型卡",40,"个",150,0.46,null,null,"满足国标要求"]
[48,"JDG管马鞍卡",40,"个",150,0.15,null,null,"满足国标要求"]
[49,"JDG管锁扣",40,"个",100,0.53,null,null,"满足国标要求"]
["不含税总价（元）："]
["税率：",{"$nulls":6},"%"]
["含税总价（元）："]
["供应商名称（盖公章）："]
["注：报价包含材料费、人工费、运输费、上下车费、管理费、利润、税费、风险等全部费用，在整个服务期内均不调整材料单价，具体金额以实际结算金额为准。"]