{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":40,"n_cols":11,"rows_kept":40,"merged":[[0,0,0,10],[1,0,2,0],[1,1,2,1],[1,2,1,4],[1,6,1,8],[3,0,20,0],[21,0,30,0],[31,0,31,1],[32,0,32,1],[33,0,33,1],[34,0,34,1],[35,0,35,1],[36,0,36,1],[37,0,37,1],[38,0,38,1],[38,2,38,3],[38,5,38,6],[38,8,38,10],[39,0,39,1],[39,2,39,3],[39,5,39,6],[39,8,39,10]]}
["石棉县王岗坪乡电商农副产品集散中心等十个工程打捆项目电梯报价单"]
["类别","参数","卫生院（共3台）",null,null,"业务用房（共1台）","食堂及教师宿舍（共3台）",null,null,"幼儿园（共1台）","学生宿舍（共1台）"]
[null,null,"DT01（客梯、无障碍电梯）","DT02（担架电梯、病床梯）","DT03（污梯、病床梯）","DT01（客梯、无障碍电梯）","DT01（客梯、无障碍电梯）","DT02（货梯）","DT03（客梯、无障碍电梯）","DT01（餐梯）","DT01（客梯、无障碍电梯）"]
["电梯","额定载重","800KG","1600KG","1200KG","800KG","800KG","800KG","800KG","250KG","800KG"]
[null,"额定速度","1.0m/s","1.0m/s","1.0m/s","1.0m/s","1.0m/s","1.0m/s","1.0m/s","0.4m/s","1.0m/s"]
[null,"层/站/门","6层/6站/6门","3层/3站/3门","3层/3站/3门","4层/4站/4门","5层/5站/5门","2层/2站/2门","2层/2站/2门","3层/3站/3门","4层/4站/4门"]
[null,"驱动方式","变压变频驱动","变压变频驱动","变压变频驱动","变压变频驱动","变压变频驱动","变压变频驱动","变压变频驱动","变压变频驱动","变压变频驱动"]
[null,"操纵系统","交流集选控制","交流集选控制","交流集选控制","交流集选控制","交流集选控制","交流集选控制","交流集选控制","交流集选控制","交流集选控制"]
[null,"提升高度","22.2米","7.8米","7.8米","11.2米","13.8米","3.9米","3.9米","7.8米","10.8米"]
[null,"运行方式","单台控制","单台控制","单台控制","单台控制","单台控制","单台控制","单台控制","单台控制","单台控制"]
[null,"动力电源","三相","三相","三相","三相","三相","三相","三相","三相","三相"]
[null,"照明电源","单相","单相","单相","单相","单相","单相","单相","单相","单相"]
[null,"曳引机位置","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）","井道顶部（无机房）"]
[null,"出入口尺寸","宽1100×高2200（mm）","宽1100×高2200（mm）","宽1100×高2200（mm）","宽1100×高2200（mm）","宽1100×高2200（mm）","宽1100×高2200（mm）","宽1100×高2200（mm）","宽1000×高1200（mm）","宽1100×高2200（mm）"]
[null,"轿厢内尺寸","宽1350×深1400（mm）","宽1400×深2400（mm）","宽1200×深2300（mm）","宽1350×深1400（mm）","宽1350×深1400（mm）","宽1350×深1400（mm）","宽1350×深1400（mm）","宽1000×高1000（mm）","宽1350×深1400（mm）"]
[null,"井道净尺寸","宽2000×深2200（mm）","宽2400×深3000（mm）","宽2100×深2900（mm）","宽2000×深2000（mm）","宽2150×深2200（mm）","宽2450×深2300（mm）","宽2000×深2200（mm）","宽1800×高1200（mm）","宽2000×深2200（mm）"]
[null,"地坑深度","1400mm","1700mm","1700mm","1400mm","1400mm","1400mm","1100mm","900mm","1400mm"]
[null,"顶层高度","4000mm","4600mm","4600mm","4250mm","3800mm","3700mm","3700mm","3900mm","3600mm"]
[null,"门机系统","变频门机","变频门机","变频门机","变频门机","变频门机","变频门机","变频门机","变频门机","变频门机"]
[null,"开门方式","中分两扇门","单开两扇门","单开两扇门","中分两扇门","中分两扇门","中分两扇门","中分两扇门","中分两扇门","中分两扇门"]
[null,"机房位置","无机房","无机房","无机房","无机房","无机房","无机房","无机房","无机房","无机房"]
["装饰","轿 厢 壁","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢"]
[null,"轿 厢 门","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢","发纹不锈钢"]
[null,"吊    顶","豪华吊顶","豪华吊顶","豪华吊顶","豪华吊顶","豪华吊顶","豪华吊顶","豪华吊顶","豪华吊顶","豪华吊顶"]
[null,"轿厢装修","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手","发文不锈钢、发纹不锈钢（盲文）、半身镜、扶手"]
[null,"厅外显示系统","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤","液晶显示、发纹不锈钢（盲文）、一体式层站召唤"]
[null,"轿门保护","红外线光幕感应","红外线光幕感应","红外线光幕感应","红外线光幕感应","红外线光幕感应","红外线光幕感应","红外线光幕感应","红外线光幕感应","红外线光幕感应"]
[null,"轿厢地板","PVC地板","PVC地板","PVC地板","PVC地板","PVC地板","PVC地板","PVC地板","PVC地板","PVC地板"]
[null,"厅    门","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑","首层发纹不锈钢，其余钢板喷塑"]
[null,"门    套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套","首层发纹不锈钢，其余钢板喷塑/小门套"]
[null,"地    坎","硬质铝合金","硬质铝合金","硬质铝合金","硬质铝合金","硬质铝合金","硬质铝合金","硬质铝合金","硬质铝合金","硬质铝合金"]
["数量",null,"1台","1台","1台","1台","1台","1台","1台","1台","1台"]
["设备含税控制单价（元）",null,103333.33,127000,121000,97333.33,103333.33,97333.33,97998.11,61666.67,100666.67]
["安装含税控制单价（元）",null,43368.73,48000,47000,42702.06,42368.73,41368.73,39368.73,34333.33,42368.73]
["设备含税报价（元）"]
["安装含税报价（元）"]
["设备含税合价（元）"]
["安装含税合价（元）"]
["设备含税总价（元）",{"$nulls":3},"设备税率",null,null,"设备不含税总价（元）"]
["安装含税总价（元）",{"$nulls":3},"安装税率",null,null,"安装不含税总价（元）"]